## Intro
RNA Sample sheet
Version 2025-08-01
Please attach this file to your enquiry in VIB connect
RNA sample requirements
- Use the same extraction method for all samples!
- RNA has to be extremely clean. Currently we don’t impose a protocol. However, best results were obtained with Trizol like reagents (e.g. Life
Technology) and Qiagen RNeasy or a combination of both. DNAse treatment is advised, make sure to always end with a final cleanup.
- Amount of (total) RNA: 1 μg is recommended to allow for an experimental repeat and for minimal amplification bias. Please provide at least 10 μl
to allow QC. Please get in touch if you have lower quantities available. For Illumina (short read) sequencing, an amount of 100 ng of total RNA is enough for
the majority of the RNA applications. Leftovers can be retrieved back.
- OD 260/280 between 1.8 and 2.1, OD 260/230 between 1.8 and 2.0.
- Ratio of high/low molecular weight rRNA ̴2.
- Agilent Bioanalyzer RIN (RNA Integrity Number) > 7-8 needed for default RNA-seq.
Note that Nucleomics Core has alternative pipelines available for lower quality samples.
- RNA must be resuspended in RNAse free water. When using another solvent, please include an aliquot of at least 10 µl.
- Please don’t dilute the samples to one uniform concentration (the higher the concentration of your samples, the more stable the RNA).
- Use 1.5 ml eppendorf tubes or plates. Note that over 30 samples, you should provide your samples in a 96-well PCR plate in column orientation (no empty
wells in between). Please use a seal compatible with your plate type and storage condition (-80°C).
- Maximum 48 samples, preferably 24 samples, in one plate (use only the left half of the plate, columns 1 to 6) to reduce freeze-thaw cycles.
- Place your samples in a sample box or foam rack, in the same order as listed in the sample submission form.
- Transport the RNA on plenty of dry-ice.
RNA quality will be checked at the facility. If low quality is suspected, the procedure can be discussed.
Labeling samples
IMPORTANT: If tubes, label them with:
Unique sample number (also unique to your previously submitted samples)
Sample name
Date
Name of responsible researcher
Concentration
IMPORTANT: If plates, label them with:
Unique plate number (also unique to your previously submitted plates)
Date
Name of responsible researcher

## Project Info
Customer information
Please fill out fields below
Responsible researcher:
Responsible researcher email:
Project leader:
Project leader email:
Name of department:
Name of institute:
Address:
Billing address:
VAT number:
Phone:
Project information
Please fill out fields below
Quote number:
Name of experiment:
RNA extraction method:
Did you use a carrier? If yes wich one (e.g. glycogen):
Did you perform DNAse treatment?
Unique plate number(s) (optional):
Organism (species):
Data delivery workflow: | RawFASTQ
BioIT contact (to whom the data will be transferred):
BioIT contact email:
Data transfer preference: | VIB NextCloud (default)
Specific (BioIT) remark:

## Sample Table
Sample Table
Please fill out fields below
PLATE NUMBER (optional) | WELL ID (optional) | UNIQUE SAMPLE NUMBER | SAMPLE NAME | CONC (ng/μl) | OD 260/280 | OD 260/230 | RIN | VOLUME (μl) | SOLVENT | ORGANISM
A1
B1
C1
D1
E1
F1
G1
H1
A2
B2
C2
D2
E2
F2
G2
H2
A3
B3
C3
D3
E3
F3
G3
H3
A4
B4
C4
D4
E4
F4
G4
H4
A5
B5
C5
D5
E5
F5
G5
H5
A6
B6
C6
D6
E6
F6
G6
H6
A7
B7
C7
D7
E7
F7
G7
H7
A8
B8
C8
D8
E8
F8
G8
H8
A9
B9
C9
D9
E9
F9
G9
H9
A10
B10
C10
D10
E10
F10
G10
H10
A11
B11
C11
D11
E11
F11
G11
H11
A12
B12
C12
D12
E12
F12
G12
H12

## Metadata info (NC) (hidden)
ORGANISMS | SOLVENT | DNASE TREATMENT | DATA TRANSFER | WORKFLOWS
Mammals (e.g. H. sapiens) | Nuclease-free water | Yes | VIB NextCloud (default) | RawFASTQ
Other animals (e.g. D. melanogaster) | DEPC-MQ | No | Illumina Basespace delivery (MiSeq) | SampleQC
Plants (e.g. A. thaliana) | Elution Buffer |  | BELNET Delivery (<200GB) | PreprocessedFASTQ
Algae (e.g. D. discoideum) | TE (1x) |  | Hard Disk (extra cost) | MappingData
Yeasts (e.g. S. cerevisiae) | Low TE |  | Custom Server | CountData
Other Fungi (e.g. P. infestans) | BR5 |  | Unknown | DifferentialExpressionAnalysis
Other Eukaryotes (e.g. diatom) | Other |  |  | DataAnalysis
Gram-Negative Bacteria (e.g. E. coli) |  |  |  | FlowCellData
Gram-Positive Bacteria (e.g. B. thuringiensis) |  |  |  | Unknown
Other Prokaryotes (e.g. Archaea)
Virusses (e.g. HIV)
Multispecies
Other

## LOG (NC) (hidden)
VERSION/DATE | WHO | ACTIONS
20181026 | REJAN | Add BioIT contact, BioIT remark, and Data trasner preferences
20230612 | THSTAN | Changed version, added log sheet and removed users
20250224 | REJAN | Split sheets, renew dropdown lists, validation of sample names
20250714 | REJAN | Improve validation of sample names, and better layout in the Intro sheet